## Sheet1
Author | Year | Location | Time Span | Time Resolution | Low cost sensor Data (No of sensors) | Pollutants | Reference Instrument | Low cost sensor | Calibration Method | Model detail | Limitation | R2 | Hourly RMSE (MAE) in μg/m-3 | Conclusion | Comment | Link
Bi | 2020 | CA | 2018.01-2018.09 | hourly | purpleair(PPA)+EPA (N=2090+157) | PM2.5 |  | PurpleAir PA-II (Plantower PMS5003) Plantower PMS5003/PMS1003 | geographically weighted regression | AQS=PPA+RH+TEMP+optime+uptime+e, e~normal, gaussian kernal, bandwidth from corrected AIC | sampling discontinuity and less representative sensor siting |  |  | The study conducted a spatially varying calibration and a downweighting strategy to integrate low-cost sensor data into high-resolution PM2.5 modeling in California. The calibration reduced the overall systematic bias of PurpleAir data from 1.9 to ∼0 μg/m3, decreased standard deviation of the AQS/PurpleAir differences from 8.18 to 5.20 μg/m3 (36%). |  | https://pubs.acs.org/doi/10.1021/acs.est.9b06046?ref=pdf
Datta | 2020 | Baltimore, MD | Training: 2018.12.20-2019.7.31. Validation: 2019.8-2019.9 | hourly | SEARCH (N=(32~45+1)) | PM2.5 | FEM BAM from MDE | Plantower A003 | parsimonious multiple linear regression-based gain-offset | PM2.5=a^t*x+ b^t*x*low-cost+e. a&b = constant+RH+T+daytime+weekend co-located data | spatially varying biases cannot be identified and corrected for due to co-location at a single site and using only two low-cost units |  | 3.6 (2.6) | Co-location analysis revealed high variability and significant overestimation of PM2.5 levels by the raw data. Field calibration (24-hr avg. RMSE of 2 μg/m3) outperformed laboratory correction. Calibrated data revealed spatiotemporal differences in PM2.5 across Baltimore. |  | https://www.sciencedirect.com/science/article/abs/pii/S1352231020304933
Zimmerman | 2018 | around CMU, Pittsburgh, PA | 2016.8-2017.2 (5.5-16 weeks, Median 9) | 15 min average | (n=16~19) | CO, NO2, O3, and CO2. | mobile laboratory | RAMP monitor (Alphasense Ltd) | Random forest | 100 trees per fold, 5 fold, no of nodes determined by RMSE | can only predict in sample value, so it needs large dataset |  | Mean MAE of RF: 38 ppb for CO (14% relative error), 10 ppm for CO2 (2%), 3.5 ppb for NO2 (29%), and 3.4 ppb for O3 (15%). | RF matched (CO) or significantly outperformed (NO2, CO2, O3) than lab univariate linear regression and multivariate linear regression. |  | https://amt.copernicus.org/articles/11/291/2018/
Topalović | 2019 | Belgrade, Serbia | 2016.7.26-2015.8.27, 2015.8.30-2015.10.1 | hourly | (N=25) | CO and O3 | Automatic Monitoring Station (AMS) Stari Grad of SEPA and campaigns with AQMESH platforms | AQMESH v. 3.5 | neural networks | CO=CO+PM2.5+NO2. O3=O3+NO+absolute humidity Feed-forward ANNs, one layer, 10 neurons, sigmoid transfer. Linear function at the output layer. Training algorithms: (1)Levenberg - Marquardt algorithm (LM); (2) Resilient back-propagation algorithm (RB) (3) Conjugate Gradient Powell - Beale algorithm (CGPB) |  |  | median normalized RMSE for CO improves from 79% to 58% of standard deviation of the CO reference measurement, and from 67% to 47% in SG1 and SG2, respectively. Similarly, the median NRMSE for O3 improves from 92% to 78% of standard deviation of the O3 reference measurement, and from 81% to 67% in SG1 and SG2, respectively. | performance of the same type of calibration model can vary significantly from platform to platform for the same type of sensor. ANN is better than univariate/multivariate linear model, though simple MLR models shows good accuracy. |  | https://www.sciencedirect.com/science/article/abs/pii/S1352231019304194
Lim | 2019 | Seoul, South Korea | 169h, 3weeks long | 1 minute | 7 | PM2.5 | DataRAM pDR-1500 and regulary monitors | AirBeam (PPD60PV-T2) | multiplicative factor | collocated with DataRAM to calibrate intra-instrument variability use multiplicative hourly factor to adjust temporal variability stacked ensemble for [random forest, Bayesian generalized linear, k-nearest neighbors, recursive partitioning and regression trees, and partitioning using deletion, substitution, and addition moves] |  |  |  | We applied and compared three statistical approaches in constructing the LUR models – linear regression (LR), random forest (RF), and stacked ensemble (SE) combining multiple machine learning algorithms – which resulted in cross-validation R2 values of 0.63, 0.73, and 0.80. | Not using SE for calibration, but for LUR. | https://www.sciencedirect.com/science/article/pii/S0160412019304854
Johnson | 2018a | laboratory, urban rooftop in Atlanta, GA, roadside in Atlanta, rooftop in Hyderabad, India |  | hourly | 3 | PM2.5 | TSI DustTrak 8533 | Shinyei PPD42NS, PPD20V, and PPD60PV | linear and orthogonal regression |  |  |  |  | Applying orthogonal regression, instead of linear regression alone, reduces the standard deviation of the error by up to about 5 μg m–3 | No detailed description for model | https://aaqr.org/articles/aaqr-17-10-oa-0418.pdf
Johnson | 2018b | New York City, NY | 2017.2.7-2017.3.25 campign | hourly | 3 | PM2.5 | Thermo Scientific tapered element oscillating microbalance (TEOM) 1400 | Shinyei PPD42 | gradient boosting regression tree, ridge regression | Multiple linear regression: BIC, VIF to select. Ridge regression. GBRT. Covariate: meteorological data, time of day. |  | OLS: 0.36-0.51 RR: 0.36-0.52 GBRT: 0.68-0.76 | OLS: 3.11-3.55 RR: 3.07-3.54 GBRT: 2.16-2.52 | GBRT outperformed OLS and RR. |  | https://www.sciencedirect.com/science/article/abs/pii/S1352231018302504
Devito | 2018 | UK, US |  |  | SNAQ ENEA Pirelli UCSD dynamic gas mixtures dataset | gases |  |  | neural networks (NN), Support Vector Regressors (SVR), Gaussian Processes Regressors (GPR), Multiple Linear Regressors(MLR) Reservoir Computing (RC). |  |  |  | Table 2 for MAE. Too many scenarios, hard to summarize and compare | 1. Non-linear is better than linear. Dynamic machine learning surpasses their respective static counterparts. 2.SVRs was shown to have the best performance in most scenarios irrespective of the timeframe, the sensor technology or the lengthof the tapped delay line. 3. despite not the best in many cases, plain shallow neural networks (NN) provided more compact and low computational/storage impact models 4. RC is average |  | https://www.sciencedirect.com/science/article/abs/pii/S0925400517313692
Cross | 2017 | Boston, MA, USA | 2016.7-2016.11 | 5 min |  | gases: CO, NO, NO2, and O3 | regulary | ARISense integrated sensor | high-dimensional model representation (HDMR) |  |  | 0.88, 0.84, 0.69, 0.39 | RMSE: CO 39.2(24.8), NO 4.52(2.83), NO2 4.56(3.45), and O3 9.71(7.34) ppb, | Results indicate that HDMR can effectively model interference effects |  | https://amt.copernicus.org/articles/10/3575/2017/amt-10-3575-2017.pdf
Hagan | 2018 | Hawaii | 2017.1.15-2017.5.22 |  | 9 | SO2 | Thermo Scientific 43i | Alphasense SO2-B4 electrochemical sensor | 1.nonparametric algorithm (k nearest neighbors) 2. hybrid linear–nonparametric algorithm |  |  | <0.997 | RMSE<7 ppb, (MAE<4 ppb) |  |  | https://amt.copernicus.org/articles/11/315/2018/amt-11-315-2018.pdf
Fonollosa | 2015 | [7 empty] | reservoir computing | [6 empty] | https://www.sciencedirect.com/science/article/abs/pii/S0925400515003524
Monroy | 2012 | [7 empty] | Gaussian processes | [6 empty] | https://ieeexplore.ieee.org/document/6411464
Martinelli | 2013 | [7 empty] | semi-supervised learning | [6 empty] | https://www.sciencedirect.com/science/article/abs/pii/S0925400512013032
Devito | 2008 | [7 empty] | Shallow artificial neural networks (ANN) | [6 empty] | https://www.sciencedirect.com/science/article/abs/pii/S0925400507007691
Feenstra | 2019 | Riverside, CA. |  |  | (N=12) | [7 empty] | 5.4~18.0 |  |  | https://www.sciencedirect.com/science/article/abs/pii/S1352231019305850